CARAVAN PARK  INSPECTION/ASSESSMENT

Local Government (Manufactured Home Estates, Caravan Parks, Camping Grounds and Moveable Dwelling)

Regulations 2005

| Park |  | Phone |  | Complaint |  |
| --- | --- | --- | --- | --- | --- |
| Owner |  | Officer |  | License Renewal |  |
| Location |  | Date |  | Follow-up |  |
|  |  | Time |  | Other: Routine |
| Manager |  |  |  |  |
| Reg | Item | X | Reg | Item | X |
|  | Land and Site Requirements |  |  | Shower and Toilet Facilities |  |
| 86 | All sites ID and boundaries clear |  | 107 | See table below * |  |
| 87 | All sites have vehicle access to road |  | 108 | Facilities for disabled persons |  |
| 89,91 | Separation distances (LT3m ST2.5m B3m PR 10m) |  | 109 | Other hot & cold water, mirror, sanitary bins. |  |
| 92 | Entrance road 7m w, sealed 5m |  | 111 | Distance to LT <75m, ST<100m |  |
| 93 | Forecourt 4 x 20m |  |  | Laundry Facilities |  |
| 94 | Access roads 6m 2 way & 4 m 1 way |  | 113 | Washer 1/25 LT & 1/30 ST min 2 |  |
| 95 | 15k speed limit signs visible ( 8 k) |  | 114 | Tubs 1/50 LT & 1/60 ST min 1 |  |
| 96,97 | Visitor park includes min 1 disabled park |  | 115 | Dryer 1/60 LR & 1/80 ST min 1 |  |
| 99 | All roads are all weather |  | 116 | Line 2m/dwelling site min 50 m |  |
| 100 | All roads adequate lighting |  | 117 | Washers & tubs hot & cold water |  |
|  | Utility Services |  | 118 | Irons & boards 1/60 |  |
| 101.1 | Water supply type - Council reticulated |  |  | Management |  |
| 101.3 | Taps 1/4 camp sites. 1/1 in caravan sites |  | 122,123 | Register & mandatory info |  |
| 101.6 | Complies with ADWG |  | 125,126 | Current map to Council |  |
| 102.1 | Approved sewer/connections |  |  | General |  |
| 102.3 | Dump site |  | 127 | Garbage clean a& sanitary |  |
| 102.4 | Sullage disposal points |  | 128 | No site > 90m from fire hydrant |  |
| 103 | Adequate stormwater drainage |  | 129 & 156 | Fire hose reels/smoke alarms installation |  |
| 104 | Sites supplied via reticulated electrical supply |  | 130 | Car washing bay |  |
| *Sites; Water closets; Urinals; Showers; Handbasins; ; Female; Male; ; Female; Male; Female; Male; 1–25; 3; 2; 1; 2; 2; 2; 2; 26–50; 5; 3; 2; 3; 3; 3; 3; 51–75; 6; 4; 2; 4; 4; 3; 3; 76–100; 7; 4; 2; 5; 5; 4; 4; 101–125; 8; 5; 3; 6; 6; 4; 4; 126–150; 9; 6; 3; 7; 7; 5; 5; 151–175; 10; 6; 4; 8; 8; 5; 5; 176–200; 11; 7; 4; 9; 9; 6; 6; |  | Caravans/Associated Structures |  |
|  | 135 | No construction on site |  |
|  | 137 | One per site |  |
|  | 138 | Setback: roads>1m, Boundary>2m |  |
|  | 139 | Total <2/3 site area |  |
|  | 141 | Carport 2 sides open, non comb. ceiling |  |
|  | 166 | Annex size/compliance plates |  |
| # | Comments | Due Date |

Your co-operation in attending to these outstanding items by the due date is required. Should you have need for further assistance please contact the Officer named alongside on the number below

| I have read and understand the contents of this report, Signed by: Owner………………………………………………………… | Officer: …………………………………… | Phone: 64511195 Fax: 64563337 |
| --- | --- | --- |